## Sheet1
Campus: | Building: | Unit Number: | Asset ID: | Manufacturer: | Model: | Serial: | Size: (KW) | Enclosure Manufacturer | Run Hours: | Fuel Level: % | 3M PM | compliance window | 6M PM | compliance window | 12M PM | compliance window | Load Bank | FSB Status (Y/N/WIP) | Warranty Expiration Date | Notes: | Known Issues: